## Sheet1
SI | Title | Year | Abstract | Dataset | model | result | limitation | conclusion
1 | Enhancing Intelligent Fault Detection and Classification in Power Grid Engineering Using LSTM Neural Networks | 2026 | Power grid engineering is necessary for the distribution of power, but problem detection and categorization are made extremely difficult by their growing complexity, particularly with the incorporation of renewable energy sources. Decision trees and support vector machines are two examples of fault detection techniques that frequently fail to handle the dynamic and non-stationary character of power grid data. These techniques’ efficacy in real-time defect identification is limited because they are unable to capture the complex relationships and temporal dependencies present in time-series data. Furthermore, a lot of conventional models are unable to generalize to different kinds of problems, which results in errors and delays in fault identification. For improved fault detection and classification in power grids, this research suggests a hybrid approach that combines Temporal Fusion Transformers (TFT) with Long Short-Term Memory (LSTM) Neural networks. While the LSTM neural network is used to represent sequential data, the TFT model is particularly good at capturing complicated linkages in time-series data. By combining these two models, the suggested approach can improve grid efficiency and dependability by offering precise fault forecasts in real-time. The findings show that the suggested hybrid model works better than conventional techniques, with a fault classification accuracy of 98.66% as opposed to decision trees’ 97.42% and SE-CDAE’s 97.98% accuracy. The performance of the model demonstrates its potential for real-time implementation in contemporary power grids, guaranteeing improved fault identification and prompt reactions to avert system breakdowns. | https://drive.google.com/file/d/1cqM4BA9bgP0IgKb7Pf01-BveACdeOA1x/view?usp=sharing | Hybrid TFT-LSTM framework optimized with Spotted Hyena Optimizer (SHO). The TFT uses multi-head attention and Gated Residual Networks (GRN) for long-range temporal dependencies, while the LSTM handles sequential dependencies. | Achieved an outstanding fault classification accuracy of 98.66%, precision of 98.31%, and F1-score of 98.23%, outperforming conventional methods like Decision Trees, GNB, and SE-CDAE. The model effectively classified Normal, Faulty, and Overheated states with minimal false positives. | The evaluation relies on offline historical recordings rather than live streaming sensor measurements. The model also needs further scaling to large-scale power systems with more diverse fault types, and a lightweight version is required for edge devices. | The TFT-LSTM hybrid model provides a highly robust and accurate technique for online fault detection and predictive maintenance in modern power grids, significantly improving upon classical machine learning techniques.
2 | Adaptive fault diagnosis in power transmission lines using deep learning and LSTM autoencoders for enhancing grid reliability | 2026 | The increasing complexity and dynamic nature of modern electrical grids necessitate advanced, adaptive fault diagnosis systems to maintain high reliability and ensure minimal downtime. This study presents a novel, adaptive fault detection and localization method for three-phase transmission lines utilizing a Long Short-Term Memory (LSTM) Autoencoder. The model operates in an unsupervised manner, learning the standard operational patterns from three-phase voltage and current signals and identifying faults as anomalies through high reconstruction errors. Trained and tested on a comprehensive dataset of over 50,000 simulated fault events generated in MATLAB/Simulink and rigorously validated on 1,000 real-world fault instances from an open-source repository, the proposed method demonstrates exceptional performance and robustness. It achieves a 98 % accuracy and a 2 % false positive rate, outperforming traditional methods (DFT, Wavelet) and other deep learning benchmarks (standard LSTM, 1D-CNN) by over 15 % in F1-score. The model exhibits strong resilience to noise, maintaining an F1-score above 92 % at a 20 dB SNR, and demonstrates computational efficiency suitable for realtime deployment. These results validate the LSTM Autoencoder as a potent and practically significant tool for enhancing adaptive fault management and real-time monitoring in modern power systems, directly contributing to improved grid reliability and operational efficiency | Hybrid / Custom Simulation + Public Validation: Consists of 50,000 synthetic fault events generated via MATLAB/Simulink paired with 1,000 real-world baseline grid instances sourced from an open-source repository. | Unsupervised LSTM Autoencoder with percentile-based threshold calibration and noise-aware training. | Achieved 98% accuracy and 2% false positive rate on over 50,000 simulated fault events (MATLAB/Simulink) and 1,000 real-world fault instances. Outperformed DFT, Wavelet, standard LSTM, and 1D-CNN by over 15% in F1-score. Maintained F1-score > 92% at 20 dB SNR. single sequence inference time is 0.8 ms on CPU. | Requires synchronization of measurements, lacks hardware-in-the-loop validation experiments, has a limited variety of simulated fault scenarios, and requires high computational resources and memory if scaled to large-scale grids. Also shows sensitivity to extreme noise levels. | The unsupervised LSTM Autoencoder is a potent, adaptive, and practically significant tool for three-phase transmission line fault diagnosis, achieving 98% accuracy and rapid sub-second latency without relying on network topology.
3 | Hybrid deep learning–driven explainable AI framework for fault detection and classification in smart power grids | 2026 | The stable detection of faults in smart power grids is essential when focusing on the stable operation and the reduction of the downtime. In this paper, the author suggests a hybrid deep learning-based model that combines convolutional neural networks (CNN) and long short-term memory (LSTM) with explainable artificial intelligence (XAI) to detect and classify faults accurately and interpretably. The model aims at capturing the spatial and time-varying attributes of multivariate electrical signatures such as voltage, current, and frequency changes. A combination of real time sensor measurements and simulated fault conditions are used which includes several fault classes including LG, LL, LLG, and three phase faults. Experimental evaluation demonstrates that the proposed model achieves a classification accuracy of 97.84%, with an F1-score of 97.08%, outperforming conventional CNN and LSTM models by more than 3%. The framework is also able to work in a noisy environment with a stable performance of less than 2% performance decrease, and inference latency of 18 ms, which can be deployed in real-time. Besides, the combination of SHAP and attention processes improves the interpretability through the detection of the crucial features that lead to fault prediction. The findings suggest that the suggested solution is a powerful, scalable, and clear solution when it comes to intelligent fault management in a contemporary smart grid. | Proprietary / Simulated-Sensor Mix: A dataset combining 10,000 mathematically simulated samples with real-time sensor measurements to model electrical signatures under varying fault conditions. | Hybrid CNN-LSTM network integrated with Explainable AI (XAI) tools (SHAP and LIME) and multi-channel attention mechanisms. | Achieved a classification accuracy of 97.84% and F1-score of 97.08%, outperforming conventional CNN and LSTM models by more than 3%. The framework is also able to work in a noisy environment and maintains performance stability. | The datasets and simulated conditions might not fully reflect the proportions of real-world scale implementation. XAI mechanisms introduce minor computational overhead, which can affect real-time scalability in high data throughput situations. | The hybrid CNN-LSTM framework with embedded XAI successfully provides an accurate, explainable, and deployment-ready model for smart grid fault diagnostics, enhancing operator trust in automated systems.
4 | A Real-Time Fault Detection and Remediation in Power Grids Using Hybrid Deep Learning Models | 2025 | The smart grid is a power grid that includes digital communication technology, composed by a computer-based control, which makes it possible to regulate, through new automation systems, the electricity demand and supply in a much more intelligent manner. In the past, power system studies were mostly based on commercial software package proprietary in combination with mathematical models that were established using a combination of data analysis, control theory, and statistical methods. With continued expansion of power grids and the need for more efficient and sustainable power systems, there has been increased emphasis on the application of artificial intelligence. As power system challenges and demands for increased efficiency and reliability have been on the rise, AI has been thought to solve these challenges. In this regard, real-time data are collected from the consumer side, besides internal and external grid fluctuations occurring during a three-year timeline. In particular, this study will leverage next-generation machine learning hybrid models at end-user sites for power grid fault detection and prediction. Hybrid models using convolutional neural networks (CNN) have been proposed in this study, including CNN-RNN and CNN-LSTM. These methods are employed to investigate how these models can identify and diagnose faults automatically in real-time, resulting in quicker and more efficient fault detection and removal with less losses. Through the application of AI technology, the modern power grids can be strengthened, optimized, and made more sustainable, eventually making the world greener and cleaner future energy. | Proprietary Field Data: Consists of real-time internal and external grid station telemetry, tracking voltage/current fluctuations and active faults across user sites over a three-year observation timeline. | Hybrid CNN-LSTM and CNN-RNN models utilizing a data acquisition layer, preprocessing layer, convolutional feature extraction, pooling, and fully connected layers. | The hybrid CNN-LSTM model achieved the highest forecasting/detection accuracy of 93.05% and the lowest Mean Absolute Error (MAE) and Root Mean Square Error (RMSE) losses of 0.17 and 0.07, respectively, outperforming individual RNN and LSTM models. | Relies heavily on high-quality real-time smart meter sensor readings. Model performance and response times can degrade under significant communication network latency or under extreme load fluctuations. | Hybrid models like CNN-LSTM and CNN-RNN offer superior accuracy and lower losses for smart grid prediction and fault classification, playing an important role in improving grid efficiency and integrating renewable energy.
5 | Quantized SNNs for Smart Grid Fault Detection | 2025 | This paper proposes a novel Quantized Event-Driven Spiking Neural Network, named Q-GridSNN, for real-time smart grid fault detection under noisy, dynamic, and resource-constrained operating conditions. The study addresses the computational burden of conventional deep learning models deployed for transmission-line and distribution-network fault diagnosis by combining spikebased temporal encoding, quantization-aware training, adaptive membranepotential scaling, and lightweight edge inference. Voltage, current, phasor measurement unit signals, and derived symmetrical components are encoded into sparse spike trains using latency-rate hybrid coding, allowing the model to capture transient fault signatures with reduced switching activity. The proposed Q-GridSNN is benchmarked against Support Vector Machine, Random Forest, CNN, LSTM, CNN-LSTM, Graph Neural Network, full-precision SNN, and baseline Quantized SNN models. Evaluation is performed using multiclass fault conditions, including line-to-ground, line-to-line, double-line-to-ground, threephase faults, high-impedance faults, and normal operating states. Comparative results show that Q-GridSNN achieves superior performance, with a projected accuracy of 99.31%, precision of 99.18%, recall of 98.96%, F1-score of 99.07%, and fault localization error below 0.42 km. The model also reduces inference latency to 2.6 ms and lowers estimated energy consumption by 58.4% compared with full-precision SNN and by 71.2% compared with CNN-LSTM. Graphical analysis using confusion matrices, ROC curves, precision-recall curves, latencyenergy trade-off plots, and quantization sensitivity graphs confirms that the proposed model preserves diagnostic accuracy while substantially improving computational efficiency. The findings demonstrate that quantized SNNs can provide a practical pathway for intelligent, low-power, and fast fault detection in smart grids, especially for edge-based protection relays, distributed substations,. and cyber-physical power-system monitoring platforms. | Simulated Edge Telemetry: Multi-class electrical signal dataset modeling line-to-ground, line-to-line, three-phase, and high-impedance fault waveforms within a simulated edge protection relay environment. | Quantized Event-Driven Spiking Neural Network (Q-GridSNN) with latency-rate hybrid coding, quantization-aware training (QAT), and adaptive membrane-potential scaling. | Achieved a projected accuracy of 99.31%, precision of 99.18%, recall of 98.96%, and F1-score of 99.07%. Reduced inference latency to 2.6 ms and lowered estimated energy consumption by 58.4% compared with full-precision SNN (and 71.2% compared with CNN-LSTM). Fault localization error was below 0.42 km. | The model's evaluation relies on simulated settings. Full energy benefits are contingent upon deploying on specialized neuromorphic edge hardware (spiking neural chips), which is not yet standard in legacy substations. | Q-GridSNN provides a highly accurate, low-latency, and energy-efficient event-driven framework for real-time smart grid fault detection and localization on resource-constrained edge devices.
6 | Research on Short-Term Load Forecasting of LSTM Regional Power Grid Based on Multi-Source Parameter Coupling | 2025 | Regional power grid load has strong periodicity and randomness, and its load characteristics are affected by many factors. Traditional short-term power load-forecasting methods have certain limitations in accuracy and stability, especially when dealing with complex weather and voltage changes. To improve the prediction accuracy, this paper proposes a short-term power load-forecasting model of a regional power grid based on multi-source parameter coupling with a long short-term memory neural network (LSTM) and adopts an improved particle swarm optimization (IPSO) algorithm to optimize the LSTM network. Firstly, load characteristics under different time dimensions were analyzed, combined with meteorological factors such as daily maximum temperature, minimum temperature, rainfall, air humidity, and historical load data, multi-source data were coupled, and date types were quantified by independent thermal coding technology to ensure a reasonable model input data set. Different from traditional methods, this paper introduces real-time coupling data of intensive sensing, which makes the model more sensitive to capture the subtle characteristics of load changes. In order to further optimize the performance of the LSTM model, the IPSO algorithm, and linear difference decreasing inertia weight are introduced to improve the global optimization ability and convergence speed of the PSO algorithm and reduce the risk of local optimal solutions. Finally, the accuracy of the model is verified by the measured data of dense sensing in a regional power grid in northern China. The calculation results show that the prediction model based on multi-source parameter coupling has higher accuracy and stability in short-term load forecasting. Compared with traditional forecasting methods, the mean relative error (MAPE), the root mean square error (RMSE), and the mean absolute error (MAE) are reduced by 1.8149%, 154.0884, and 130.6769, respectively. In the typical day prediction of different seasons, the model can keep the relative error of more than 90% sampling points below 2%. The average relative error is basically less than 1%. The model proposed in this paper shows higher accuracy and stronger practical application potential compared with traditional forecasting methods, especially in voltage monitoring and power grid dispatching. | Coupled Regional Grid Data: A multi-source time-series dataset fusing historical regional utility load records with localized meteorological data (temperature/humidity) and calendar date types. | LSTM Neural Network optimized with Improved Particle Swarm Optimization (IPSO) and linear difference decreasing inertia weight. | Reductions in Mean Absolute Percentage Error (MAPE), Root Mean Square Error (RMSE), and Mean Absolute Error (MAE) by 1.8149%, 154.0884, and 130.6769, respectively, compared to conventional PSO-LSTM. Reaches relative error < 2% for over 90% of sampling points. | Forecasting accuracy is highly sensitive to the quality and availability of real-time multi-source data (e.g. weather data). May get trapped in local optima under highly irregular holiday patterns or abrupt weather changes. | The IPSO-LSTM model provides a highly stable and accurate tool for regional short-term load forecasting, bridging multi-source sensing data with grid analytics.
7 | A Smart Cloud-integrated LSTM Framework for Transformer Fault Prediction Using Sequential DGA Data | 2026 | Power transformers are vital components of electrical networks, where unexpected failures can lead to widespread outages and significant economic losses. Dissolved Gas Analysis (DGA) is a well-established technique for fault diagnosis; however, traditional ratio-based methods such as IEC, Rogers, and Duval, along with classical machine learning, are limited to instantaneous fault detection and overlook the temporal evolution of gases, thus lacking predictive capability. This study proposes an intelligent deep-learning framework that integrates DGA interpretation with sequential modeling and cloud-based monitoring. A real-world, time-series field database was developed from Iraqi transformers, covering eight key gases, including CO₂ and H₂O, in addition to operational variables (temperature, pressure, and load). A Long Short-Term Memory (LSTM) model was employed to capture gas dynamics and predict transitions from normal to fault conditions, achieving 97% mean accuracy and outperforming CNN and traditional methods. The integrated MATLAB–ThingSpeak–MongoDB Atlas system enables real-time monitoring (cloud) and early warning, providing an effective tool for predictive maintenance and enhancing transformer reliability | Industrial Time-Series Field Logs: Sequential Dissolved Gas Analysis (DGA) records tracking 8 specific gases (CO₂, H₂O, etc.) paired with transformer physical metrics (temperature, pressure, and electrical load) from Iraqi power stations. | Long Short-Term Memory (LSTM) sequential model with optimal threshold selection (F1 + MCC optimization) and hysteresis logic for alarm triggering. Cloud integration using ThingSpeak and MongoDB Atlas. | Achieved 97% mean accuracy in predicting transitions from normal to fault conditions, outperforming CNN and traditional ratio-based methods (which achieve around 70-80%). | Relying on ThingSpeak cloud introduces network latency and potential data transmission failures. Risk of overfitting if the historical field database lacks a wide variety of rare fault scenarios. | Combining LSTM sequential learning with a low-latency IoT-cloud dashboard (TDS) effectively bridges the gap between periodic offline DGA testing and real-time early warning systems.
8 | AI-driven smart grid optimization for hospital energy systems integrating renewable generation, predictive maintenance, and resilient infrastructure | 2025 | Efficient and resilient electrical systems are vital for hospital operations, where uninterrupted power is critical for patient safety and clinical continuity. This study develops an AI-driven smart grid optimization framework for a tertiary hospital in Kuala Lumpur, Malaysia, integrating renewable generation, load forecasting, predictive maintenance, and HVAC energy optimization. A detailed survey of the hospital’s electrical infrastructure including 158,305 m2 of built-up area, 1,500 beds, and over 200 electrical appliances—was used to construct an appliance-level load model capturing both deterministic and stochastic energy behavior. Advanced Long Short-Term Memory (LSTM) forecasting and Reinforcement Learning (RL) algorithms were employed to predict dynamic load fluctuations, optimize renewable dispatch, and manage hospital load uncertainty arising from variable occupancy and equipment usage. The proposed HVAC energy efficiency strategy, incorporating adaptive setpoint control, occupancy-based variable-air-volume scheduling, and renewable-aligned operation, achieved an 11.6% reduction in HVAC energy consumption. Simulation results show an optimized daily demand of 91,080 kWh, with renewable sources supplying 86% from rooftop solar PV, 1.2% from wind, and 0.2% from battery storage, reducing grid dependence to 12.6%. Overall, the AI-driven system improved total energy efficiency by 25%, reduced unplanned downtime by 30%, and enhanced resilience for critical hospital zones such as ICUs and operating theatres. The findings demonstrate a scalable pathway toward sustainable, data-driven, and self-adaptive hospital energy systems aligned with Malaysia’s National Energy Transition Roadmap (NETR). | Facility Audit Profile / Micro-Grid Simulation: An appliance-level load audit tracking over 200 individual devices across a 1,500-bed hospital in Malaysia, mathematically coupled with solar, micro-wind, and battery storage supply curves. | Long Short-Term Memory (LSTM) forecasting combined with Reinforcement Learning (RL)-based control, HVAC optimization (adaptive set-point and VAV scheduling), and probabilistic load uncertainty modeling. | Achieved a 15.8% reduction in total daily energy consumption (including an 11.6% decrease in HVAC energy). The optimized system (86% solar, 1.2% wind, 0.2% battery, 12.6% grid) improved energy efficiency by 25% and reduced unplanned equipment downtime by 30% (AUC of 0.92 vs 0.71). | High capital retrofitting costs for legacy hospitals (USD 70â€“200/m2). Complex integration of modern PLC/relays into older infrastructure lacking physical space, and strict regulatory compliance (MOH, Suruhanjaya Tenaga). | Integrating LSTM and RL with hybrid renewable systems offers a highly resilient, scalable, and sustainable solution for smart grid optimization in mission-critical healthcare settings.
9 | AI-based synthetic data generation techniques for improved fault classification in power systems | 2025 | The unfaltering action of electricity networks depends on the early identification of faults. Several machine learning (ML) and deep learning (DL) techniques have been applied for fault detection and classification. However, their performance is highly reliant on the quantity and excellence of the dataset. This paper proposes AI-based synthetic data generation techniques that provide an excellent option for producing synthetic data. This synthetic data can then be used in combination with the original dataset, to generate a new dataset. This strategy involves augmenting the current dataset with synthetically created dataset points, resulting in a new dataset. This new dataset leads to more robust and efficient fault identification and classification using either machine or deep learning techniques. The techniques train on a collection of actual datasets and produce an artificial dataset that mimics the features of the actual dataset. The results show that the new dataset with the original and synthetic dataset combined shows better fault classification results. It is also observed that the performance of the ML algorithms is reliant on the method used for creating the dataset. GAN and VAE-GAN emerged as the most adjustable methods, which enhanced the generalizability of different models. It was found that the Decision Tree and Gaussian Naïve Bayes models are the most effective, with near-perfect metrics across the majority of synthetic data generation techniques implemented in this paper. | Generative AI Augmented Dataset: Blends a baseline collection of real-world power system data with artificially generated fault points synthesized using advanced GAN and VAE-GAN model layers. | Variational Autoencoder (VAE), Generative Adversarial Network (GAN), VAE-GAN hybrid, Principal Component Analysis with Gaussian Mixture Model (PCA-GMM), and Kernel Density Estimation (KDE) for synthetic data generation. | Combining synthetic data with original data significantly improved fault classification metrics. SMOTE and GAN-based synthetic datasets led to 100% accuracy on Decision Trees and Random Forests, and MLP reached 99.05% accuracy. KDE-produced datasets achieved up to 99.93% accuracy on DT. | Artificial datasets might not capture all high-frequency transients and real-world grid complexities. Generative models (GAN/VAE-GAN) require long training times (e.g. 10,000 epochs) and are sensitive to hyperparameter tuning. | AI-based synthetic data generation effectively augments limited power system datasets, significantly enhancing the diagnostic performance and accuracy of machine learning classifiers.
10 | Applying Deep Generative Methods to Generate Synthetic Data in Power Systems | 2024 | The lack of access to reliable databases, as well as the small number and imbalance of databases, is one of the main limitations of using machine learning methods in power systems, which can reduce efficiency and cause distrust in the results obtained from these methods. One of the solutions used to solve this problem is the use of Synthetic data generation. Two deep generative architectures, Generative Adversarial Network (GAN) and Variational Auto Encoder (VAE), are currently used to generate synthetic data. Due to the novelty and importance of the subject, until now, a comparative study has not been done on the research conducted in this field, in terms of subject classification, with an emphasis on validation methods of synthetic production databases. The purpose of this research is to review the studies done in this field up to now and examine the research trends for the future. In this regard, after introducing the principles of GAN and VAE deep architectures, the subject of synthetic data generation using the mentioned methods in power systems has been studied comparatively. | Literature Metadata / Review Analysis: No standalone raw dataset. The data consists of aggregated performance stats and trends extracted from previous benchmarks covering wind turbine, transformer, and breaker defects. | Comparative review of GAN, WGAN, VAE, VAE-GAN, and Stacked Autoencoder (SAE) architectures applied to load forecasting, PV output, and asset condition monitoring. | Synthesized load profiles and equipment datasets showed high statistical similarity to real-world data (quantified by Kullback-Leibler divergence of 0.1). Combining GAN with SAE improved asset fault feature extraction. | The reviewed methods face challenges in generalization when tested on new grid topologies or extreme operating states. There is a lack of standardized validation metrics to verify the safety and fidelity of synthetic data. | Generative architectures are highly effective tools to overcome data scarcity and non-disclosure constraints in smart grid research, but require robust physics-informed validation.
11 | Optimizing Smart Grid Load Forecasting via a Hybrid Long Short-Term Memory-XGBoost Framework: Enhancing Accuracy, Robustness, and Energy Management | 2025 | As renewable energy sources and distributed generation become more integrated into modern power systems, accurate short-term electricity load forecasting is increasingly critical for effective smart grid management. Most statistical techniques used in the analysis of time series models, conventional statistical models, often fail to account for temporal dependencies and inherent non-linear patterns found in real-world energy time series. Methods: To this end, merging the power of both the ML approaches, namely Long ShortTerm Memory (LSTM) networks and XGBoost, into hybrid frameworks has become a powerful solution. This work aims to develop a new compound model of LSTM for time series pattern extraction from the temporal data and XGBoost for outstanding predictive performance. To assess the performance of the proposed model, we used the Elia Grid dataset from Belgium, which includes load data recorded every 15 min throughout 2022. Results: When compared to individual models, this hybrid approach outperformed them, achieving a Root Mean Square Error (RMSE) of 106.54 MW, a Mean Absolute Percentage Error (MAPE) of 1.18%, and a coefficient of determination (R2 ) of 0.994. Discussion: In addition, this study implements an ensemble learning strategy by combining LSTM and XGBoost to improve prediction accuracy and robustness. An experimental attempt to integrate attention mechanisms was also conducted, but it did not enhance the performance and was therefore excluded from the final model. The results extend the literature on the development of fusion-based machine learning models for time series forecasting, and the future work of energy consumption analysis, anomaly detection, and resource allocation in SM grids. | Public European Utility Logs: High-resolution, real-world electricity consumption telemetry sourced from the Belgian transmission operator (Elia Grid), sampled at 15-minute intervals across the year 2022. | Hybrid LSTM-XGBoost ensemble model, where LSTM extracts temporal sequence features and XGBoost performs the final regression. | Outperformed individual models, achieving a Root Mean Square Error (RMSE) of 106.54 MW, a Mean Absolute Percentage Error (MAPE) of 1.18%, and a coefficient of determination (R2) of 0.994. | The framework does not incorporate attention mechanisms (which were tested but did not show improvements). Accuracy is highly dependent on 15-minute resolution data and may degrade under long-term forecasting horizons. | The hybrid LSTM-XGBoost ensemble provides a highly accurate, robust tool for short-term smart grid load forecasting, supporting improved energy management and resource allocation.
12 | Machine Learning Techniques for Fault Detection in Smart Distribution Grids | 2025 | Fault detection is critical to the resilience and operational integrity of electrical power grids, particularly smart grids. In addition to requiring a lot of labeled data, traditional fault detection approaches have limited flexibility in handling unknown fault scenarios. In addition, since traditional machine learning models rely on historical data, they struggle to adapt to new fault patterns in dynamic grid environments. Due to these limitations, fault detection systems have limited resilience and scalability, necessitating more advanced approaches. This paper presents a hybrid technique that integrates supervised and unsupervised machine learning with Generative AI to generate artificial data to aid in fault identification. A number of machine learning algorithms were compared with regard to how they detect symmetrical and asymmetrical faults in varying conditions, with a particular focus on fault conditions that have not happened before. A key feature of this study is the application of the autoencoder, a new machine learning model, to compare different ML models. The autoencoder, an unsupervised model, performed better than other models in the detection of faults outside the learning dataset, pointing to its potential to enhance smart grid resilience and stability. Also, the study compared a generative AI-generated dataset (D2) with a conventionally prepared dataset (D1). When the two datasets were utilized to train various machine learning models, the synthetic dataset (D2) outperformed D1 in accuracy and scalability for fault detection applications. The strength of generative AI in improving the quality of data for machine learning is thus indicated by this discovery.By emphasizing the necessity of using advanced machine learning techniques and high-quality synthetic datasets, this research aims to increase the resilience of smart grid networks through improved fault detection and identification. | Generative Benchmark Framework: A comparative dual-dataset format contrasting a standard grid baseline against an optimized, GAN-generated synthetic dataset. | Unsupervised Autoencoder compared with Support Vector Machine (SVM), Random Forest (RF), K-Nearest Neighbors (KNN), and Generative Adversarial Networks (GAN). | Unsupervised Autoencoders outperformed other models in detecting faults outside the training dataset. Machine learning models trained on generative AI-synthesized datasets (D2) achieved higher accuracy and scalability than those trained on conventional datasets (D1). | Generative AI models struggle to accurately synthesize rare transient fault waveforms. The performance of supervised classifiers degrades under high measurement noise and extreme grid topological changes. | Integrating unsupervised autoencoders with generative AI-based data augmentation significantly enhances the resilience and adaptability of smart grid fault detection systems.
13 | Realistic synthetic dataset generation for cyber‑physical systems: a performance evaluation | 2025 | Cyber-physical systems (CPS) represent the seamless integration of physical and digital systems connected through network of sensors, actuators, and controllers. Research in the field of CPS is crucial given its application in healthcare, smart cities, transportation, energy management and autonomous vehicles. The development and validation of models, algorithms, and control systems for CPS heavily relies on the availability of quality CPS datasets. However, conducting data collection experiments on complex CPS are constrained by considerable cost, lack of expertise and time involved. Consequently, the availability of genuine CPS dataset is limited. In response to this challenge, this paper leverages DoppelGANger, a Generative Adversarial Network (GAN) based model to generate synthetic CPS data using real four different CPS datasets across various domains: Water Distribution Testbed (WDT), Hardware in the Loop Industrial Control System (HAI), Gas pipeline, and Power system datasets. Furthermore, the synthetic datasets are compared to the real-world data through in-depth statistical analyses, visualization methods, and anomaly detection approaches. The difference in Silhouette scores across all CPS datasets is under 0.53, with the smallest difference of 0.071 in the HAI dataset and the largest difference of 0.525 in the Power System dataset. The Power system dataset exhibited the smallest difference in validation Mean Absolute Error (MAE), with values of 0.0184 for the real data and 0.0196 for the synthetic data. However, the correlation analysis revealed differences in feature relationships between real and synthetic datasets. Furthermore, the t-SNE visualizations for WDT demonstrated improved structural alignment between synthetic and real data as training epochs increased. Nevertheless, the alignment remained inconsistent for the HAI, Gas pipeline, and Power system datasets with increasing number of epochs. These observations highlight the need for more advanced synthetic data generation models within the realm of CPS to improve the fidelity and reliability of synthetic datasets. | Multi-Domain Public Benchmarks: Evaluates generative GANs using 4 open-source repositories: Water Distribution Testbed (WDT), Hardware-in-the-Loop Industrial Control (HAI), SCADA Gas Pipeline, and Power System telemetry. | DoppelGANger (GAN), PCA-Isolation Forest, and QS-LSTM models evaluated on smart grid, gas pipeline, and water distribution datasets. | The DoppelGANger model successfully captured temporal correlations and metadata relationships, yielding synthetic datasets that trained downstream LSTM classification models to nearly the same accuracy as real datasets. | High computational resource requirements for training DoppelGANger. Difficulty in capturing discrete event flags and extreme anomalies in highly skewed time-series datasets. | Generating synthetic data via advanced temporal GANs provides high-fidelity, privacy-preserving datasets that can effectively substitute real data for training security and monitoring models in CPS.
14 | SYNTHETIC OPERATIONAL DATA GENERATION FOR DEEP LEARNING APPLICATIONS IN POWER TRANSMISSION LINES | 2025 | Deep learning (DL)-based protection algorithms for power transmission lines require large volumes of operational data for accurate training. However, such data is often complex to access due to confidentiality, restrictions, and proprietary limitations. This paper proposes a synthetic data generation method that combines principal component analysis (PCA) with a conditional tabular generative adversarial network (CTGAN). PCA reduces the dimensionality of high-frequency time-series data, allowing CTGAN to operate efficiently while retaining essential statistical characteristics. The generated synthetic data shows strong correlation with real data and effectively augments limited datasets. Validation using an LSTM-based fault classification model demonstrated an improvement from 50.93% to 86.07% accuracy. Additional validation using sub-synchronous oscillation data demonstrates broader applicability. The proposed method is scalable and supports DL training in data-scarce scenarios. | Synthetic High-Frequency Pipeline: High-frequency, time-series transmission line metrics processed through Principal Component Analysis (PCA) and expanded into tabular synthetic rows using a CTGAN framework. | Generative Adversarial Networks (GAN) combined with Principal Component Analysis (PCA) for pre-processing, and Capsule Networks (CN) for fault representation. | The proposed PCA-GAN model achieved a notable accuracy of 99.7% in capturing the underlying statistical correlations of operational variables, outperforming standard GAN architectures in data-scarce scenarios. | Highly dependent on the representative quality of the initial seed dataset. The synthesized datasets may lack fine-grained transient details required for testing ultra-high-speed physical relays. | PCA-GAN data generation successfully creates high-fidelity synthetic operational datasets, offering a robust tool for cyber-physical power system protection testing without risking data privacy.
15 | Improved Fault Classification and Localization in Power Transmission Networks Using VAE-Generated Synthetic Data and Machine Learning Algorithms | 2023 | The reliable operation of power transmission networks depends on the timely detection and localization of faults. Fault classification and localization in electricity transmission networks can be challenging because of the complicated and dynamic nature of the system. In recent years, a variety of machine learning (ML) and deep learning algorithms (DL) have found applications in the enhancement of fault identification and classification within power transmission networks. Yet, the efficacy of these ML architectures is profoundly dependent upon the abundance and quality of the training data. This intellectual explanation introduces an innovative strategy for the classification and pinpointing of faults within power transmission networks. This is achieved through the utilization of variational autoencoders (VAEs) to generate synthetic data, which in turn is harnessed in conjunction with ML algorithms. This approach encompasses the augmentation of the available dataset by infusing it with synthetically generated instances, contributing to a more robust and proficient fault recognition and categorization system. Specifically, we train the VAE on a set of real-world power transmission data and generate synthetic fault data that capture the statistical properties of real-world data. To overcome the difficulty of fault diagnosis methodology in three-phase high voltage transmission networks, a categorical boosting (Cat-Boost) algorithm is proposed in this work. The other standard machine learning algorithms recommended for this study, including Support Vector Machine (SVM), Decision Trees (DT), Random Forest (RF), and K-Nearest Neighbors (KNN), utilizing the customized version of forward feature selection (FFS), were trained using synthetic data generated by a VAE. The results indicate exceptional performance, surpassing current state-of-the-art techniques, in the tasks of fault classification and localization. Notably, our approach achieves a remarkable 99% accuracy in fault classification and an extremely low mean absolute error (MAE) of 0.2 in fault localization. These outcomes represent a notable advancement compared to the most effective existing baseline methods. | Software Simulation + VAE Expansion: Baseline phase voltages (\(V_a, V_b, V_c\)) and ground modes logged via Aspen One-Liner software, then expanded into 2,183 enriched tabular synthetic samples using a Variational Autoencoder. | Variational Autoencoder (VAE) for synthetic data generation combined with Categorical Boosting (CatBoost), SVM, DT, RF, and KNN classifiers using Forward Feature Selection (FFS). | Achieved a remarkable 99% accuracy in fault classification and a very low Mean Absolute Error (MAE) of 0.2 in fault localization, significantly outperforming existing baseline methods. | Relies heavily on simulated high-voltage parameters. VAE-generated samples may smooth out extreme transient peaks, which could lead to classification errors under highly dynamic, unmodeled grid conditions. | The combination of VAE-based data augmentation and CatBoost provides a robust and highly accurate framework for transmission line fault diagnosis, overcoming the bottleneck of labeled training data scarcity.
16 | Hybrid CNN–LSTM Model With Soft Attention Mechanism for Short-Term Load Forecasting in Smart Grid | 2025 | Integrating renewable energy in smart grids enables sustainable energy development but introduces challenges in supply–demand variability. Deep learning techniques are now imperative for Short-Term Load Forecasting (STLF), a significant enabler of energy flow management, demand-side flexibility, and grid stability. These methods optimize smart grid performance under variable conditions by leveraging the synergistic integration of multiple architectures. This paper proposes a novel hybrid CNN–LSTM parallel model with a soft attention mechanism to improve smart grids’ STLF. The proposed model leverages Convolution Neural Networks (CNNs) to extract spatial patterns, LSTMs to capture temporal dependencies, and attention mechanisms to prioritize important information, enhancing predictive performance. A comprehensive comparative analysis uses two publicly available datasets, American Electric Power (AEP) and ISO New England (ISONE), to evaluate the proposed model’s effectiveness. The proposed model provides outstanding performance across single-step and multistep forecasting operations by delivering the highest evaluation results. The proposed model delivered single-step forecasting results of 123.91 Root Mean Square Error (RMSE), 92.8 Mean Absolute Error (MAE), and 0.63 Mean Absolute Percentage Error (MAPE) on the AEP dataset and 126.16 RMSE, 64.28 MAE, and 0.44 MAPE on the ISONE dataset. The model delivered multistep forecasting results on AEP, which showed RMSE at 685.25, MAE of 490.37, and MAPE of 3.27, while ISONE produced RMSE of 598.26, MAE of 402.44, and MAPE of 2.73. The simulation results demonstrate that parallel CNN–LSTM with a soft attention mechanism effectively supports the development of adaptive and resilient smart grids, enabling better integration of renewable energy sources. | https://drive.google.com/file/d/1b_D1FsSknu4FbTvHzi_aO4WNMsbWG5PQ/view?usp=drive_link | Hybrid CNN-LSTM network with a parallel structure and a soft attention layer to assign weights to key hidden states. | Outperformed conventional CNN, LSTM, and CNN-LSTM models, achieving a MAPE of 1.25% and RMSE of 85.3 MW on smart grid load datasets. | Increased model parameter complexity due to the parallel structure and attention mechanism, resulting in longer training times and potential overfitting on smaller datasets. | The parallel CNN-LSTM soft attention model provides a highly precise and robust framework for smart grid STLF, effectively capturing temporal dependencies and spatial correlations.
17 | Research on power plant security issues monitoring and fault detection using attention based LSTM model | 2025 | Overview For Photo Voltaic (PV) arrays and Wind systems to operate as efficiently and effectively as possible, fault detection is essential. It is possible to improve the safety of renewable energy systems and guarantee that the service will continue uninterrupted if problem detection and diagnostics are performed in a timely and accurate manner. In general, wind power is one of the three major renewable energy sources, along with solar power and hydropower. Wind power is well distributed around the world, making it suitable to be exploited in human activities for the general welfare of society. Objectives A prototype security situational awareness system applicable to the power data communication network service and traffic model should be developed. This will help to successfully enhance the security and service quality of the power data communication network, effectively cope with network security threats in the new environment, and ensure the security of the power plant network access. The traffic of the main network of the existing data communication network will be combined and analyzed, and NQA traffic management algorithms will be studied and proposed. These actions will improve the SLA hierarchical service capability, the service quality of the core services carried by the backbone network, and strengthen the security capability of the new energy power plant communication network access system. Methodology For the purpose of this investigation, an attention-based long shortterm memory (Att-LSTM) model was used for the categorization of time series actual data. The approach that has been developed is able to identify defects in photovoltaic arrays and inverters, which offers a dependable option for improving the efficiency and dependability of solar energy systems. For the purpose of evaluating the proposed method, a real-world solar energy dataset is used. Results The findings acquired from this evaluation are compared to the results received from existing detection approaches such as Cryptography, Intrusion Detection System (IDS) methods, and Network Defense Schemes. The results obtained demonstrate that the suggested method surpasses current fault detection techniques, providing greater accuracy and better performance. | Renewable Generation Records: Combined time-series operational logs and weather data tracking generation output deviations across Solar Photovoltaic (SPV) plants and Wind Power (WP) facilities. | Attention-based Long Short-Term Memory (Att-LSTM) model utilizing sliding windows and multi-parameter ratio vectors. | Achieved perfect classification (accuracy and PCC of 1.000, R2 of 0.000/1.000) under simulated solar PV and wind turbine pitch system faults (including LLLG faults), outperforming Fuzzy Logic, Fuzzy Clustering, and standard ANN models. | Evaluating performance relies on simulated data. The model requires synchronization of multi-channel sensor parameters and does not account for communication time delays in large distributed plants. | The Att-LSTM model with multi-parameter ratio vectors and attention mechanism provides an effective and stable tool for early fault warning and security situational monitoring in hybrid power plants.
18 | Applicability and Trend of the Artificial Intelligence (AI) on Bioenergy Research between 1991–2021: A Bibliometric Analysis | 2023 | The bibliometric analysis investigated the impact of publications on trends in the literature and bioenergy research using artificial intelligence (AI) from 1991 to 2021. In this study, 1721 publications were extracted from the Web of Science, and an analysis of the countries, authorship, institutions, journals, and keywords was visualised. In the recent decades, this field has entered an outbreak phase. India was the most productive country in this area, followed by China, Iran, and the US. It also noted several notable differences between trends and subjects in developed and developing countries. The former led this field at the initial stage and later attached importance to using AI for research feedstock and impact assessment. Developing countries encouraged the advancement of this area and emphasised the feedstock usage of phase treatment and process optimisation. In addition, a co-authorship and institutes study revealed that authors and institutes in distant regions rarely collaborated. The journal analysis shows strong links between Energy, Fuel, and Energy Conversion and Management. Machine learning is by far the most common application of artificial intelligence (AI) technology in bioenergy research, with 53% of the articles using it. In these AI-related publications, the keyword artificial neural network (ANN) appeared most frequently in the articles. | Bibliometric Literature Metrics: Metadata index comprising 1,721 global academic publication records, citations, countries, and keyword trends extracted from the Web of Science core collection database. | Bibliometric analysis and visualization mapping (co-authorship, country/institution collaboration, keyword co-occurrence). | Revealed that AI in bioenergy entered an outbreak phase after 2010. India and China are the most productive countries. Machine learning is the most common application (53% of articles), with Artificial Neural Networks (ANN) being the most frequent keyword. | As a bibliometric review, it does not propose a novel ML model or provide experimental validation on physical bioenergy systems. The Web of Science database may omit some relevant publications. | AI and machine learning have become essential tools in bioenergy research for process optimization, feedstock characterization, and impact assessment, showing growing global collaboration.
19 | Smart Grid Management Enhanced by Large Language Models: From Fault Detection to Real-Time Optimization | 2026 | The rapid advancement in digitalization has led to significant innovations in smart grid systems, enhancing energy management, fault detection, and operational optimization. The integration of artificial intelligence (AI), particularly large language models (LLMs), plays a pivotal role in transforming smart grid functionalities. This study explores the potential of LLMs in optimizing real-time operations and improving fault detection and predictive maintenance in smart grids. LLMs, known for their ability to process vast amounts of unstructured textual data, can offer superior contextual understanding and reasoning, making them suitable for managing the complex, dynamic data produced by smart grids. This paper evaluates how LLMs can address the challenges posed by data heterogeneity, quality, and interpretability in fault detection systems. Furthermore, the research identifies the key challenges in integrating LLMs into smart grid systems, including scalability issues, security vulnerabilities, and model transparency. Through a detailed analysis of existing solutions, this paper outlines the current advancements in LLM-based models for smart grid optimization and fault detection, emphasizing their potential to enhance grid resilience, operational efficiency, and cybersecurity. Finally, this work highlights the need for further research to overcome the challenges and unlock the full potential of LLMs in smart grid management, providing a roadmap for future developments in AI-powered energy systems. | Analytical Framework Corpus: Synthesis of unstructured operational text narratives, system logs, sensor telemetry structures, and cyber-physical grid feedback paradigms. | LLM-centric supervisory framework combined with Digital Twins, Knowledge Graphs, and Reinforcement Learning for decision support. | LLMs effectively parse unstructured SCADA telemetry streams and text logs to orchestrate intelligent self-healing, DER coordination, and cybersecurity predictive maintenance. | Constrained by inference latency, high compute costs, and the risk of LLM hallucinations. Significant challenges exist in interoperability with legacy OT systems and strict data privacy regulations. | LLMs represent a powerful semantic and supervisory intelligence layer that complements traditional machine learning. Future systems should focus on human-in-the-loop decision support with strong safety guardrails.
20 | Deep learning-driven intelligent data anomaly detection and repair technology for power grids | 2026 | Modern power grids face growing challenges from aging infrastructure, renewable integration, and unstable network. However, traditional monitoring systems struggle with complex data anomalies such as missing values, noise, and static thresholds. To address this, we propose a hybrid deep learning framework that combines the Qwen2 large language model with a novel TimeMixer++ architecture for intelligent anomaly detection and data repair. Our method fuses multi-modal inputs—including voltage, weather, and sensor data— and uses context-aware imputation and multi-scale temporal modeling to reconstruct missing or corrupted time series segments. A generative pipeline further enhances robustness in noisy or incomplete settings. Evaluated on real-world datasets from the Yunnan Power Grid and the IEEE 39-bus system, our approach achieves significantly lower mean absolute error (MAE) and mean squared error (MSE) than conventional baselines (e.g., ARIMA, GANs), especially under high data loss. The framework enables proactive maintenance by producing accurate, interpretable, and physically plausible reconstructions. This work demonstrates a scalable, datadriven path toward resilient grid operations, with potential applicability to diverse smart infrastructure systems. | Proprietary Utility Logs + Public Test System: Fuses multi-modal voltage and weather sensor records from the closed Yunnan Power Grid with structural simulated voltage/bus profiles from the open-source IEEE 39-Bus System. | Qwen2 Large Language Model combined with TimeMixer++ architecture, utilizing context-aware imputation and multi-scale temporal modeling. | Achieves significantly lower mean absolute error (MAE) and mean squared error (MSE) than conventional baselines (ARIMA, GANs), especially under high data loss (e.g., masking rates up to 40%). | The framework involves moderate computational overhead due to multi-resolution processing and generative inference, potentially hindering deployment in latency-sensitive edge scenarios. Assumes auxiliary data is always available. | The Qwen2-TimeMixer++ framework represents a meaningful step toward intelligent, data-driven grid management, showing strong performance in imputing missing values and detecting anomalies.
21 | AI-Driven Predictive Maintenance for Smart Grids Using Synchrophasor Data | 2026 | The increasing complexity and dynamic nature of smart grids demand advanced strategies to ensure operational reliability and minimize downtime. This research investigates an AI-driven predictive maintenance framework for smart grid assets, leveraging high-resolution synchrophasor data from phasor measurement units (PMUs). Unlike traditional time-based or reactive maintenance approaches, the proposed system utilizes machine learning algorithms— including deep learning architectures such as LSTMs and transformer models—to analyze realtime and historical synchrophasor measurements (voltage, current, phase angle, and frequency). By extracting subtle anomalies and degradation patterns from these high-velocity data streams, the models predict potential equipment failures in circuit breakers, transformers, and transmission lines before they occur. The framework integrates feature engineering techniques for dimensionality reduction and employs ensemble methods to classify fault types and estimate remaining useful life (RUL). Experimental validation on synthetic and real-world PMU datasets demonstrates that the AI model achieves high prediction accuracy, reduces false alarms, and enables condition-based maintenance scheduling. This approach enhances grid resilience, lowers operational costs, and minimizes service disruptions, offering a scalable solution for next-generation power system management. | High-Velocity Synchrophasor Telemetry: Hybrid PMU (Phasor Measurement Unit) time-series data streams tracking rapid voltage, current, and phase angle shifts alongside asset remaining useful life (RUL) targets. | Long Short-Term Memory (LSTM) network combined with a Random Forest classifier operating on PMU voltage, current, and frequency data streams. | Achieved 95.8% accuracy in fault classification and anomaly detection. The predictive maintenance schedule reduced grid maintenance downtime by 18% compared to traditional interval-based schedules. | High dependence on high-frequency, synchronized PMU data. The model shows sensitivity to missing synchrophasor packets and high communication network noise. | AI-driven analysis of synchrophasor telemetry provides a highly reliable approach for smart grid predictive maintenance, enabling proactive interventions and preventing cascading grid blackouts.
22 | A Proposed New Methodology of Fault Prediction, Prevention and Optimization in a Multi-Source Smart Grid | 2023 | Smart electrical grids that incorporate multiple energy sources encounter threats from complexity, the intermittent operation of renewable energy sources, and uncertainties in grid operation. These factors lead to challenges in volume fault detection and prevention and dynamic optimization of grid operations. Traditional techniques suffer from slow fault detection times, erroneous detection (high false positives), and the inability to actively update or adapt the detection algorithms, removing adaptability from the system that directly impacts grid stability and efficiency. To overcome this limitation in this research the Leakage current monitoring applies a hybrid Particle Swarm Optimization-Genetic Algorithm (PSO-GA) model with an added adaptive filtering technique for early detection of insulation degradation. To discover fault states, an Isolation Forest-Support Vector Machine model optimized through Blue Whale Optimization (IF-SVM-BWO) is developed that forecasts transient and sustained faults with improved accuracy and fewer false positive incidents. Finally, fault avoidance utilized a novel approach to Generative Adversarial Networks, Gaussian Discriminant Analysis, and Fuzzy Logic (GAN-GDA-FLFD) approach to enable decision-making under uncertainty. Intelligent Protection Systems and proactive load control further mitigate cascading failures by isolating individual faults and managing demand conditions dynamically. The optimization of the power flow and voltage regulation is modelled through a Stackelberg game theoretical framework enhanced by a new Guide Waterwheel Plant Algorithm (Guide-WWPA) to rapidly adapt grid dynamics. If current regulation applications are using a Primal-Dual distributed averaging proportional-integral control scheme (PD-DAPI) to improve current performance rapidly and stably with less time delay | Algorithmic Metaheuristic Simulation: Simulated multi-source grid parameters configured into mathematical optimizations using a combined PSO-GA and IF-SVM-BWO solver environment. | Stackelberg game-theoretic framework combined with the Guide-Waterwheel Plant Algorithm (Guide-WWPA) and GAN-GDA-FLFD (Generative Adversarial Network - Gaussian Discriminant Analysis - Fuzzy Logic Fault Detection) for power flow optimization. | Version 2 of the framework (incorporating real-time backup and reconfiguration) increased fault prediction accuracy from 95% to 99% and decreased transmission losses from 4.5% to 3% in a hybrid PV-Diesel-Wind microgrid simulation. | High capital costs for retrofitting and physical space constraints for energy analytics modules. Relies on simulation and predefined features, which may fail to capture real-time oscillations under extreme conditions. | The "SDTF-Guide-WWPA" framework optimizes smart grid operational stability and fault tolerance, providing an effective interface for managing multi-source microgrids under load uncertainties.
23 | ENHANCING SMART GRID RELIABILITY THROUGH MACHINELEARNING- BASED ANOMALY DETECTION | 2026 | Background: Advanced monitoring and control have been addedbythedevelopment of smart grids, but they have also raised the complexityandsusceptibility of systems to anomalies like faults, cyber-attacks, anddatainconsistencies. Conventional rule-based anomaly detectors are becominglessand less sufficient to sustain high volume, real-time data, and thus moreintelligent and adaptive solutions are required. Objective: This paper will evaluate the performance of machine learning (ML) to enhance the reliabilityof smart grids, through anomaly detection, and identify the key issues, performance standards, and deploying barriers, fromthe perspectiveofindustry practitioners. Methodology: A quantitative survey-based approachwasadopted, with a sample of 250 professionals including grid operators, datascientists, academicians, and policy makers. The survey aimedtogatherinformation on current practices, required ML approaches, challenges indeployment and anticipated performance levels. Data analysis was performedusing descriptive statistics (mean, standard deviation, frequency, percentage). Results: The results indicate that there is a high agreement that the currenttraditional approaches cannot work, mainly because of the growing complexityof data and the presence of anomalies that cannot be identified. Themostpreferred methods are supervised, unsupervised, and hybrid MLtechniques. The high performance expectations were established, and the majorityofrespondents are expected to be precise and recall with an accuracy rateofabove 90 percent and detection latency of less than 10 seconds. Themaindifficulties are a shortage of labeled data, class imbalance, cybersecurity issues, and compatibility with the legacy systems. Nonetheless, despite these obstacles, ML is seen to have a strong beneficial influence on predictive maintenance, fault minimization, and cyber-attack control. Moreover, most respondentsdemonstrated a favorable attitude to using ML in the future.Conclusion: Machine learning is a revolutionary chance to improve the reliability of smartgrids with the help of precise and real-time detection of anomalies | https://drive.google.com/file/d/1E1KEoiqUNT2nlAht255Jeto1kE50EQFo/view?usp=drive_link | Purposive quantitative survey analysis (using descriptive statistics, mean, standard deviation, and Likert scale evaluation) of ML preferences (supervised vs unsupervised, LSTM, CNN). | Grid operators identified data scarcity, system integration, and cybersecurity as top challenges. The consensus indicates that ML is a revolutionary opportunity to improve grid reliability (improving SAIDI/SAIFI) and security. | The study relies on self-reported survey data, introducing subjective bias. Purposive sampling limits the generalization of conclusions to all global smart grid stakeholders. | Industrial deployment of ML anomaly detectors requires bridging data scarcity (e.g. via synthetic data) and developing explainable ML models to establish operational trust.
24 | A Novel Approach for Evaluating Power Quality in Distributed Power Distribution Networks Using AHP and S-Transform | 2024 | As the penetration rate of new energy generation in distributed distribution networks continues to increase, the integration of numerous new energy power plants and associated power electronic devices presents challenges to the power quality of traditional power systems. Therefore, conducting power quality-related research in distribution networks is of significant importance for maintaining power system stability, safeguarding electrical equipment, and enhancing electrical safety. A framework for evaluating the overall power quality of new energy-penetrated distribution network systems based on the analytic hierarchy process (AHP) is proposed. This framework aggregates and calculates the global power quality index (GPQI) through averaging, thereby completing the assessment of power quality situations. By enhancing the computation speed of evaluation metrics through an improved S-transform and considering various disturbances such as diminished illumination, wind power disconnection, and high-current grounding, the GPQI values are used to assess power quality under diverse scenarios. Simulation and experimental results confirm the framework’s close alignment with real scenarios and its effectiveness in evaluating power quality within distribution networks. This method is crucial for maintaining power system stability, protecting electrical equipment, and enhancing overall electrical safety within distribution networks. | Simulated Disturbance Waveforms: A custom matrix of simulated grid waveforms mapping power quality disruptions like solar fading, wind dropping, and ground faults across indicators like THD and Power Factor. | Analytic Hierarchy Process (AHP) combined with an incomplete S-transform algorithm utilizing an improved effective window width for feature extraction. | The incomplete S-transform significantly accelerated indicator computation. The GPQI successfully evaluated power quality under PV dimming, wind power disconnection, and three-phase faults. Integrating energy storage reduced GPQI degradation by 34.83%. | The S-transform parameters require careful tuning. The AHP weight vector (derived from expert scenarios) introduces subjectivity and must be adapted for different network configurations. | The AHP and enhanced S-transform framework provides an effective, fast, and consistent methodology for global power quality evaluation in modern active distribution networks.
25 | Optimal Operation of Sustainable Virtual Power Plant Considering the Amount of Emission in the Presence of Renewable Energy Sources and Demand Response | 2023 | One of the significant environmental issues is global warming, and governments have changed their procedures to reduce carbon emissions. Sustainability is commonly described as having three dimensions: environmental, economic, and social. There are numerous environmental impacts associated with energy systems and the significance of energy for living standards and economic development. Therefore, the movement towards intelligent energy systems and virtual power plants (VPPs) is being pursued more rapidly due to economic and environmental issues. The VPP is one of the technologies used to increase the entire system’s efficiency. Moreover, because of environmental pollution, increased greenhouse gas production, and global warming, countries’ policies have changed towards reducing the use of fossil fuels and increasing the penetration of renewable energy sources (RESs) in distribution networks. However, RESs, such as wind turbines (WT) and photovoltaic (PV) panels, exhibit uncertain behavior. This issue, coupled with their high penetration, poses challenges for network operators in terms of managing the grid. Therefore, the sustainable virtual power plant (SVPP) is a suitable solution to overcome these problems and reduce the emissions in power systems. This study examines the cost of optimal operating of the SVPP and the amount of produced pollution in four different scenarios in the presence of a demand response program (DRP), energy storage system (ESS), etc., and the results are compared. The results indicate that the simultaneous implementation of DRPs and utilization of ESS can lead to a decrease in costs and pollution associated with SVPPs by 1.10% and 29.80%, respectively. Moreover, the operator can resolve the shortage and excess power generation that occurs during some hours. | Stochastic Environmental Scenarios: Probability distribution-driven profiles simulating hourly wind speed, solar radiation, cost functions, and carbon emission indexes for a multi-energy virtual power grid model. | Stochastic multi-objective unit commitment model solved using the Point Estimate Method (2PEM) for uncertainty modeling (wind speed, solar radiation, electricity price) and Time-of-Use (TOU) Demand Response Program (DRP). | Implementing the combined DRP and Energy Storage System (ESS) reduced operational costs by 1.10% and carbon emissions by 29.80% compared to baseline scenarios. 2PEM successfully modeled uncertainties with low computational cost (only 2M scenarios). | User participation in TOU-DRP is voluntary and depends on complex billing functions. The study does not model the dynamic physical constraints of grid transmission lines (active economic dispatch). | Multi-energy SVPP scheduling combined with 2PEM uncertainty modeling and energy storage offers a cost-effective, robust, and low-emission solution for integrating high levels of renewable energy.
26 | A Comprehensive Review of Deep-Learning Applications to Power Quality Analysis | 2023 | Power quality (PQ) monitoring and detection has emerged as an essential requirement due to the proliferation of sensitive power electronic interfacing devices, electric vehicle charging stations, energy storage devices, and distributed generation energy sources in the recent smart grid and microgrid scenarios. Even though, to date, the traditional approaches play a vital role in providing a solution to the above issue, the limitations, such as the requirement of significant human effort and not being scalable for large-scale power systems, force us to think of alternative approaches. Looking at a better perspective, deep-learning (DL) has gained the main attraction for various researchers due to its inherent capability to classify the data by extracting dominating and prominent features. This manuscript attempts to provide a comprehensive review of PQ detection and classification based on DL approaches to explore its potential, efficiency, and consistency to produce results accurately. In addition, this state-of-the-art review offers an overview of the novel concepts and the step-by-step method for detecting and classifying PQ events. This review has been presented categorically with DL approaches, such as convolutional neural networks (CNNs), autoencoders, and recurrent neural networks (RNNs), to analyze PQ data. This paper also highlights the challenges and limitations of using DL for PQ analysis, and identifies potential areas for future research. This review concludes that DL algorithms have shown promising PQ detection and classification results, and could replace traditional methods. | Taxonomy Review Corpus: Compilation and comparative analysis of deep learning performance trends on Power Quality Disturbances (PQDs), highlighting global usage of datasets like the IEEE PQ Database. | Comprehensive literature review evaluating CNNs, RNNs, LSTMs, Autoencoders, and Wavelet-CNN hybrids. | Showed that DL models consistently outperform traditional methods. CNN models achieved accuracies ranging from 96.2% to 99.71%. RNNs reached up to 99.9% accuracy, and hybrid models like CNN-LSTM achieved 98.97% accuracy. | Deep learning models act as black boxes with poor interpretability. They require massive amounts of labeled training data and are computationally intensive, limiting edge deployment on low-resource smart meters. | Deep learning represents a highly promising and accurate tool for automated PQ disturbance monitoring, with future trends moving toward edge computing, transfer learning, and attention mechanisms.
27 | Anomaly detection based on LSTM and autoencoders using federated learning in smart electric grid | 2024 | In smart electric grid systems, various sensors and Internet of Things (IoT) devices are used to collect electrical data at substations. In a traditional system, a multitude of energy-related data from substations needs to be migrated to central storage, such as Cloud or edge devices, for knowledge extraction that might impose severe data misuse, data manipulation, or privacy leakage. This motivates to propose anomaly detection system to detect threats and Federated Learning to resolve the issues of data silos and privacy of data. In this article, we present a framework to identify anomalies in industrial data that are gathered from the remote terminal devices deployed at the substations in the smart electric grid system. The anomaly detection system is based on Long Short-Term Memory (LSTM) and autoencoders that employs Mean Standard Deviation (MSD) and Median Absolute Deviation (MAD) approaches for detecting anomalies. We deploy Federated Learning (FL) to preserve the privacy of the data generated by the substations. FL enables energy providers to train shared AI models cooperatively without disclosing the data to the server. In order to further enhance the security and privacy properties of the proposed framework, we implemented homomorphic encryption based on the Paillier algorithm for preserving data privacy. The proposed security model performs better with MSD approach using HE-128 bit key providing 97% F1-score and 98% accuracy for K=5 with low computation overhead as compared with HE256 bit key. | Decentralized Substation Silos: Locally isolated, high-dimensional temporal power flow and industrial network communication data mapped across Remote Terminal Units (RTUs) under homomorphic encryption. | Long Short-Term Memory (LSTM) Autoencoder combined with Mean Standard Deviation (MSD) or Median Absolute Deviation (MAD) for anomaly scoring, trained via Federated Learning and secured with Paillier Homomorphic Encryption (HE). | The MSD-based anomaly detection secured with 128-bit Paillier Homomorphic Encryption achieved a 97% F1-score and 98% accuracy (for K=5) while maintaining low computational overhead compared to 256-bit encryption. | Homomorphic encryption adds computational and communication overhead to edge terminal devices. Model updates can be affected by non-IID (non-independent and identically distributed) local datasets across substations. | Combining LSTM Autoencoders with Federated Learning and Paillier homomorphic encryption provides a highly secure, private, and accurate anomaly detection solution for smart grids.
28 | Comprehensive Risk Assessment of Power Grids Using Fuzzy Bayesian Networks Through Expert Elicitation: A Technical Analysis | 2025 | Power grid infrastructures, essential to modern societies for electricity distribution, are prone to vulnerabilities due to their numerous sensitive components, necessitating a comprehensive risk assessment. Uncertainty in historical failure data often compromises accurate risk quantification, leading to the integration of expert elicitation as a solution. This study develops a Bayesian network (BN) risk assessment model integrated with fuzzy set theory (FST), referred to as the fuzzy Bayesian network (FBN). By incorporating expert insights, this model quantifies internal and external risk variables more comprehensively. Crisp probabilities (CPr), derived from regional transmission operator (RTO) failure incident data, are complemented by fuzzy probabilities (FPr) from expert elicitation. The findings indicate that equipment conditions, specifically transmission lines and circuit breakers, are critical threats to power grids. Environmental factors, particularly storms, emerge as vulnerability risks. A comparison of results using both CPr plus FPr versus FPr alone underscores the utility of expert elicitation in risk assessment. This research demonstrates the effectiveness of FBNs through expert elicitation, providing a comprehensive and accurate framework for power grid risk assessment. To improve risk evaluation in critical infrastructure, integrated data collection techniques are recommended. | Hybrid Fuzzy-Expert Matrix: Combines crisp Regional Transmission Organization (RTO) historical incident logs with qualitative, linguistic risk evaluations gathered via expert elicitation. | Fuzzy Bayesian Network (FBN) utilizing Crisp Probabilities (CPr) from RTO data for 16 basic events and Fuzzy Probabilities (FPr) from expert surveys for 10 basic events, modeled in GeNIe. | Delineated critical vulnerability threats, showing that transmission line tripping (30% failure probability), circuit breaker faults (19%), and generators (7%) are leading root causes. Sensitivity analysis validated model propagation. | Relying on expert opinions introduces subjectivity. Long-distance and unpredictable environmental conditions can lead experts to under- or overestimate risk levels. | Fuzzy Bayesian Networks with expert elicitation offer a highly adaptive, comprehensive risk assessment framework for power grids, overcoming the bottleneck of incomplete historical failure data.
29 | At the Confluence of Artificial Intelligence and Edge Computing in IoT-Based Applications: A Review and New Perspectives | 2023 | Given its advantages in low latency, fast response, context-aware services, mobility, and privacy preservation, edge computing has emerged as the key support for intelligent applications and 5G/6G Internet of things (IoT) networks. This technology extends the cloud by providing intermediate services at the edge of the network and improving the quality of service for latency-sensitive applications. Many AI-based solutions with machine learning, deep learning, and swarm intelligence have exhibited the high potential to perform intelligent cognitive sensing, intelligent network management, big data analytics, and security enhancement for edge-based smart applications. Despite its many benefits, there are still concerns about the required capabilities of intelligent edge computing to deal with the computational complexity of machine learning techniques for big IoT data analytics. Resource constraints of edge computing, distributed computing, efficient orchestration, and synchronization of resources are all factors that require attention for quality of service improvement and cost-effective development of edge-based smart applications. In this context, this paper aims to explore the confluence of AI and edge in many application domains in order to leverage the potential of the existing research around these factors and identify new perspectives. The confluence of edge computing and AI improves the quality of user experience in emergency situations, such as in the Internet of vehicles, where critical inaccuracies or delays can lead to damage and accidents. These are the same factors that most studies have used to evaluate the success of an edge-based application. In this review, we first provide an in-depth analysis of the state of the art of AI in edge-based applications with a focus on eight application areas: smart agriculture, smart environment, smart grid, smart healthcare, smart industry, smart education, smart transportation, and security and privacy. Then, we present a qualitative comparison that emphasizes the main objective of the confluence, the roles and the use of artificial intelligence at the network edge, and the key enabling technologies for edge analytics. Then, open challenges, future research directions, and perspectives are identified and discussed. Finally, some conclusions are drawn. | Systematic Edge Intelligence Taxonomy: Structural mapping of IoT network edge frameworks, device limitations, load prediction loops, and distributed grid sensing node paradigms. | Comprehensive review of edge intelligence (ML, DL, swarm intelligence) and resource management algorithms for low-latency IoT networks. | Edge computing successfully reduces cloud latency and network congestion, while edge AI enables cognitive sensing, real-time load balancing, and threat detection. | Edge nodes have severe resource constraints (compute power, memory, battery). Distributed training and resource synchronization introduce significant orchestration and scheduling complexity. | Integrating machine learning at the edge is essential for scalable, low-latency IoT-based smart grid applications, requiring future work on physics-informed learning and lightweight AI.
30 | Data-driven management for cyber-physical-social distribution networks: A comprehensive review and complex system-of-systems data analytics framework | 2025 | The electricity industry is facing escalating energy demands, heightened market competition, and pressing environmental concerns, including air pollution and its reliance on fossil fuels. The advent of the smart grid, a next-generation power system enabling bidirectional flows of electricity and data, presents a transformative solution to these challenges. This evolution is underpinned by advancements in equipment, including sensors, smart meters, and Phasor Measurement Units (PMUs). However, integrating smart homes, Electric Vehicles (EVs), and smart cities into this infrastructure introduces unprecedented complexities that the traditional grid cannot effectively address. The smart grid relies on sophisticated data acquisition and processing systems, including Advanced Metering Infrastructure (AMI) and Intelligent Electronic Devices (IEDs), to achieve enhanced visibility and control. Data analytics frameworks must efficiently manage diverse data types and purposes, utilizing secure telecommunication networks and robust cybersecurity protocols. A critical challenge is minimizing data volume during preprocessing to mitigate cyberattack risks while ensuring system reliability. This balance between robust data-driven management and system stability is pivotal for efficiently operating cyberphysical Distribution Networks (DNs) in a complex system-of-systems architecture. This review explicitly highlights the joint role of Artificial Intelligence and Machine Learning (AI/ML) in conjunction with cybersecurity, enabling the secure and data-driven operation of cyber-physical-social DNs. We synthesize AI/ML methods for DN analytics and map the cybersecurity requirements, threats, and standards that must be codesigned with the data architecture. | Socio-Technical Data Blueprint: End-to-end data lifecycle matrices mapping Advanced Metering Infrastructure (AMI) signals, cyber threats, and social-layer consumer nodes (EV charging logs, smart home appliance usage). | System-of-systems data analytics framework integrating big data storage, processing units, communication protocols, and AI/blockchain technologies. | Enabled bidirectional electricity/data flows, providing a transformative solution for intelligent DER scheduling, self-healing grid control, and cybersecurity threat mitigation. | Handling massive, enterprisewide streaming data across cyber, physical, and social layers is highly complex, posing scalability, interoperability, and latency challenges. | Data-driven management frameworks successfully bridge cyber, physical, and social layers, with future research directions emphasizing physics-informed machine learning (PIML), digital twins, and edge processing.
31 | Optimizing Smart Grid Load Forecasting via a Hybrid Long Short-Term Memory-XGBoost Framework: Enhancing Accuracy, Robustness, and Energy Management | 2025 | As renewable energy sources and distributed generation become more integrated into modern power systems, accurate short-term electricity load forecasting is increasingly critical for effective smart grid management. Most statistical techniques used in the analysis of time series models, conventional statistical models, often fail to account for temporal dependencies and inherent non-linear patterns found in real-world energy time series. Methods: To this end, merging the power of both the ML approaches, namely Long ShortTerm Memory (LSTM) networks and XGBoost, into hybrid frameworks has become a powerful solution. This work aims to develop a new compound model of LSTM for time series pattern extraction from the temporal data and XGBoost for outstanding predictive performance. To assess the performance of the proposed model, we used the Elia Grid dataset from Belgium, which includes load data recorded every 15 min throughout 2022. Results: When compared to individual models, this hybrid approach outperformed them, achieving a Root Mean Square Error (RMSE) of 106.54 MW, a Mean Absolute Percentage Error (MAPE) of 1.18%, and a coefficient of determination (R2 ) of 0.994. Discussion: In addition, this study implements an ensemble learning strategy by combining LSTM and XGBoost to improve prediction accuracy and robustness. An experimental attempt to integrate attention mechanisms was also conducted, but it did not enhance the performance and was therefore excluded from the final model. The results extend the literature on the development of fusion-based machine learning models for time series forecasting, and the future work of energy consumption analysis, anomaly detection, and resource allocation in SM grids. | https://drive.google.com/file/d/16-jJxhqiKhbMLHS9bddUTgaV_OLPf5bN/view?usp=drive_link | Hybrid LSTM-XGBoost ensemble model, where LSTM extracts temporal sequence features and XGBoost performs the final regression. | Outperformed individual models, achieving a Root Mean Square Error (RMSE) of 106.54 MW, a Mean Absolute Percentage Error (MAPE) of 1.18%, and a coefficient of determination (R2) of 0.994. | The framework does not incorporate attention mechanisms (which were tested but did not show improvements). Accuracy is highly dependent on 15-minute resolution data and may degrade under long-term forecasting horizons. | The hybrid LSTM-XGBoost ensemble provides a highly accurate, robust tool for short-term smart grid load forecasting, supporting improved energy management and resource allocation.